# SPECIFICATION SHEET

#PT760010-1 RESIDENTIAL

#PT770010-1 HEALTHCARE

DREAM AIR SPA

RIGHT DOOR

STATIONARY AIR SPA:  59 ¼ inches long, sanitary gel coated fiberglass tub; threshold 6 ¾ inches, seat height 20 ½ inches, tub 33 ½ inches wide, 40 ¼ inches high, designed so that the user will be in the sitting position at all times. Tub door height 32 ½ inches by 33 ¼ inches wide. Door mounted with stainless steel hinge. 1 HP air blower with a 300 watt heater, 13 air jets. Controls to include: three speed variable on/off, heated seat and back, waterfall tub fill, hand held shower sprayer; analog tub fill and shower temperature gauges (healthcare version only) thermostatic mixing valve; two inch easy release drain with overflow. ¾” Hot and Cold water supply and 2” PVC drain. Available Right Door Only

COLOR:   White, Bisque, or Custom Façia Colors/Designs

## WARRANTY:  Lifetime on Factory Defects. One Year On Integral Spa Component’s

MANUFACTURED:     Aurora, NE. USA