# SPECIFICATION SHEET

#PT360010-1

#PT360010-1L

CASCADE STANDARD AIR SPA

RIGHT OR LEFT DOOR

STATIONARY AIR SPA:  69 inches long, sanitary gel coated fiberglass tub with three key locked service access doors; seat height 15 ½ inches, tub 30 inches wide, 47 ½ inch deck height, designed so that the user will be in the sitting position at all times. Tub designed so that the patient be transferred into the tub by means of a mobile, battery powered, height adjustable transfer system with optional scale. Tub door opening to be 36 inches by 26 ½ inches. Door mounted with stainless steel hinges and pins capable of holding 250lbs. without deformation. Tub open below to allow access by patient transfer and lift systems. ½ HP regenerative air blower, 10 air jets. Controls to include: pneumatic whirlpool on/off, tub fill and shower; digital tub and fill water temperature indicators; bath oil and shampoo dispensers; safety belt; automatic disinfection and rinse system; thermostatic mixing valve; filler spout; hand-held shower sprayer with vacuum breaker and timer; two inch easy release drain with overflow. ¾” Hot and Cold water supply and 2” PVC drain. Available Left or Right Door

COLOR:     White or Custom

STANDARDS:     UL & CUL Classified

## WARRANTY:    5 year on parts, 6 months mixing valve due to varying water conditions

MANUFACTURED:     Aurora, NE. USA