# SPECIFICATION SHEET

#PT361910-1A

#PT361910-1I

CASCADE ALCOVE OR ISLAND AQUA AIRE SPA

STATIONARY AIR SPA:    59 ½  inches long, sanitary gel coated fiberglass spa; seat height 19 inches, outside spa dimension 33 inches wide, interior spa dimension 26 ¾  inches wide, 43 ½  inch deck height, designed so that the user will be in the sitting facing forward position at all times. Spa door opening to be 36 inches by 26 ½ inches. Spa door on hinges capable of holding 250lbs. without deformation. Powder coated spa frame. Spa open below to allow access by patient transfer and lift systems. ½ HP regenerative cast aluminum air blower, 13 air jets with check valves. Controls to include: raised push button pneumatic spa on/off button, spa fill, shower spray and disinfection system; digital fill water temperature indicators; all air lines and air jets are disinfected and fresh water rinsed by use of raised push button controls; Sporicide injector; thermostatic mixing valve; filler spout; hand-held shower sprayer with vacuum breaker; two inch easy release drain with overflow.

COLOR:     White or Custom Colors

STANDARDS:     UL & CUL Classified

MANUFACTURED:     Aurora, NE. USA

## WARRANTY:    5 year on parts, 6 months mixing valve due to varying water conditions