# SPECIFICATION SHEET

#PT370000-1W

#PT370000-1WL

CASCADE RESERVOIR

FOR STANDARD CASCADE SPAS

STATIONARY RESERVOIR SYSTEM:      67 inches high, 44 inches wide, 25 ½ inches deep (14 ½ inches additional length to complete bathing system length), designed to provide fast filling capabilities. 48 gallon water capacity. Cascade spa system may be filled with water from the reservoir and fill spout at the same time. Filling time with reservoir, 90 seconds. Reservoir water temperature gauge indicator, automatic water shutoff by use of float switch and timer, and built in overflow.

COLOR:     White or Custom

STANDARDS:     UL & CUL Classified

MANUFACTURED:     Aurora, NE. USA

## WARRANTY:    5 years on parts